## SUMMARY Details
PROJECT ID: | The Learning Experience Academy NJ | Date: | Enter Date
AREA SUMMARY:
BUILDING GSF | 6000 | No. of Floors: | 3
Basement (SF) | 1000
First Floor (SF) | 2000
Second Floor (SF) | 3000
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST | COST/ SF
Division 1 | General Requirements | 0 | 0
Division 2 | Site Work/ Existing Conditions | 0 | 0
Division 3 | Concrete | 0 | 0
Division 4 | Masonry | 0 | 0
Division 5 | Metals | 0 | 0
Division 6 | Wood, Plastics & Composites | 0 | 0
Division 7 | Thermal & Moisture Protection | 0 | 0
Division 8 | Openings | 0 | 0
Division 9 | Finishes | 0 | 0
Division 10 | Specialties | 0 | 0
Division 11 | Equipment | 0 | 0
Division 12 | Furnishing | 0 | 0
Division 13 | Special Construction | 0 | 0
Division 14 | Conveying System | 0 | 0
Division 21 | Fire Protection | 0 | 0
Division 22 | Plumbing | 0 | 0
Division 23 | HVAC/ Mechanical | 0 | 0
Division 26 | Electrical | 0 | 0
TOTAL TRADE COST |  | 0 | 0
OVERHEAD & PROFIT | 20% | 0 | 0
INSURANCE | 3% | 0 | 0
CONTINGENCY | 7% | 0 | 0
TOTAL TRADE COST |  | 0 | 0

## TAKEOFF Breakdown
CLIENT'S INFORMATION:
PROJECT ID: |  | The Learning Experience Academy NJ |  |  | CONTACT:
E-MAIL ADDRESS:
SCOPE: |  | Write Project Scope Here |  |  | PHONE NUMBER:
[5 empty] | Date: | Enter Date
ITEM # | DWG. # | DESCRIPTION | QUANTITY | UNIT | UNIT COST | TOTAL COST | TRADE COST
GENERAL REQUIREMENTS
1 |  | Supervision | 1 | LS | 0 | 0
2 |  | Permits | 1 | LS | 0 | 0
3 |  | Final Clean-up | 1 | LS | 0 | 0
4 |  | Mobilization Costs | 1 | LS | 0 | 0
5 |  | Project Overheads | 1 | LS | 0 | 0
6 |  | Bonds | 1 | LS | 0 | 0
7 |  | Temporary Control & Facilities | 1 | LS | 0 | 0
Scaffolding
|  | Subtotal (General Requirements) |  |  |  |  | 0
DIVISION 07- THERMAL & MOISTURE PROTECTION
| A-031 & A-061 | Insulation
8 |  | R-38 Foil Face Batt Insulation | 4710 | SF | 0 | 0
9 |  | R-38 Foil Face Batt Insulation | 1170 | LF | 0 | 0
10 |  | R-25 Rigid Insulation With Mechanically Fastened 0.060 Epdm Membrane | 4172 | SF | 0 | 0
11 |  | R-10 Rigid Insulation On Foundation Wall | 1526 | LF | 0 | 0
12 |  | Vapor Barrier On Floor | 4176 | SF | 0 | 0
|  | Subtotal (Thermal & Moisture Protection) |  |  |  |  | 0
DIVISION 08- OPENINGS
| A-011& A-121 | Exterior Door With Frame & Hardware (Installation Only)
13 |  | Door Type "E" With Frame Type B-1 And Hardware Type "10" | 1 | EA | 0 | 0
14 |  | Door Type "B" With Frame Type "C" And Hardware Type "5" | 1 | EA | 0 | 0
15 |  | Door Type "B" With Frame Type "C" And Hardware Type "5" | 6 | EA | 0 | 0
16 |  | Door Type "B" With Frame Type "C" And Hardware Type "6" | 5 | EA | 0 | 0
17 |  | Door Type "A" With Frame Type "C" And Hardware Type "7" | 1 | EA | 0 | 0
| A-011& | Exterior Window With Frame & Hardware (Installation Only)
18 | A-122 | (4'-0"X4'-2") Window Type "B" With Frame Type Vinyl | 14 | EA | 0 | 0
| A-011 & A-121 | Interior Door With Frame & Hardware (Installation Only)
19 |  | Door Type "E" With Frame Type "B-1" And Hardware Type "9" | 1 | EA | 0 | 0
20 |  | Door Type "A" With Frame Type "A" And Hardware Type "1" | 3 | EA | 0 | 0
21 |  | Door Type "B" With Frame Type "A" And Hardware Type "3" | 3 | EA | 0 | 0
22 |  | Door Type "D" With Frame Type "B-1" And Hardware Type "8" | 1 | EA | 0 | 0
23 |  | Door Type "F" With Frame Type "D" | 1 | EA | 0 | 0
24 |  | Door Type "A" With Frame Type "A" And Hardware Type "2" | 12 | EA | 0 | 0
25 |  | Door Type "B" With Frame Type "A" And Hardware Type "2" | 10 | EA | 0 | 0
26 |  | Door Type "B" With Frame Type "A" And Hardware Type "4" | 4 | EA | 0 | 0
27 |  | Door Type "C" With Frame Type "A" And Hardware Type "3" | 1 | EA | 0 | 0
28 |  | Door Type "B" With Frame Type "C" And Hardware Type "3" | 1 | EA | 0 | 0
|  | Subtotal (Openings) |  |  |  |  | 0
DIVISION 09- FINISHES
| A-012 & A-091 | Walls
Wall Type 1
29 |  | 2X4 Wood Studs 16" O.C. (126 EA, 1481 LF) | 1951 | SF | 0 | 0
30 |  | 5/8" "X" Type Gypsum Board | 3902 | SF | 0 | 0
31 |  | 3-1/2" Sound Attenuating Insulation | 1951 | SF | 0 | 0
32 |  | 2X4 Preservative Treated Sole Plate | 166 | LF | 0 | 0
33 |  | 2X4 Top Plate | 332 | LF | 0 | 0
34 |  | Wall Base | 166 | LF | 0 | 0
Wall Type 2
35 |  | 2X4 Wood Studs 16" O.C. (513 EA, 6028 LF) | 8002 | SF | 0 | 0
36 |  | 5/8" Gypsum Board | 12599 | SF | 0 | 0
37 |  | 3-1/2" Sound Attenuating Insulation | 5959 | SF | 0 | 0
38 |  | 2X4 Preservative Treated Sole Plate | 681 | LF | 0 | 0
39 |  | 2X4 Top Plate | 1362 | LF | 0 | 0
40 |  | Wall Base | 681 | LF | 0 | 0
Wall Type 3
41 |  | 2X6 Wood Studs 16" O.C. (53 EA, 623 LF) | 811 | SF | 0 | 0
42 |  | 5/8" Gypsum Board | 1278 | SF | 0 | 0
43 |  | 5-1/2" Sound Attenuating Insulation | 604 | SF | 0 | 0
44 |  | 2X6 Preservative Treated Sole Plate | 69 | LF | 0 | 0
45 |  | 2X6 Top Plate | 138 | LF | 0 | 0
46 |  | Wall Base | 69 | LF | 0 | 0
Wall Type 4
47 |  | 2X6 Wood Studs 16" O.C. (295 EA, 3122 LF) | 4127 | SF | 0 | 0
48 |  | 5/8" Gypsum Board On Inner Face | 4127 | SF | 0 | 0
49 |  | R-21 Batt Insulation | 4127 | SF | 0 | 0
50 |  | Vapor Barrier On Warm Side | 4127 | SF | 0 | 0
51 |  | 5/8" Apa Rated Exterior Grade Wd. Sheathing With Tyvek Building Wrap | 4127 | SF | 0 | 0
52 |  | 2X6 Preservative Treated Sole Plate | 390 | LF | 0 | 0
53 |  | 2X6 Top Plate | 780 | LF | 0 | 0
54 |  | Wall Base | 390 | LF | 0 | 0
| A-021 & A-022 | Ceiling
55 |  | (2'X4') Armstrong 1729 Fine Fissured, White Lay In Accoustic Tile With Grid | 7930 | SF | 0 | 0
56 |  | (2'X2') Armstrong 584, White Lay-In Acoustic Tile With Grid | 250 | SF | 0 | 0
57 |  | (2'X4') Armstrong 2910 Random Fissured, White Lay-In Accoustic Tile With Mylar Finish With Grid | 144 | SF | 0 | 0
58 |  | MBB Lower Level 5/8" Gypsum Board | 175 | SF | 0 | 0
5"Soffit At Laundry
59 |  | 2X4 Wood Studs 16" O.C. (4 EA, 8 LF) | 8 | SF | 0 | 0
60 |  | 5/8" Gypsum Board | 16 | SF | 0 | 0
61 |  | Corner Bead | 8 | LF | 0 | 0
62 |  | (2x4) Plate | 8 | LF | 0 | 0
5" Soffit At Pantry
63 |  | 2X4 Wood Studs 16" O.C. (7 EA, 23LF) | 23 | SF | 0 | 0
64 |  | 5/8" Gypsum Board | 35 | SF | 0 | 0
65 |  | Corner Bead | 14 | LF | 0 | 0
66 |  | (2x4) Plate | 14 | LF | 0 | 0
5'-2" Wide Soffit At Reception
67 |  | 5/8" Gypsum Board | 146.013 | SF | 0 | 0
68 |  | Dry Wall Cross Tee @16" O.C. (22 EA, 113 LF) | 147 | SF | 0 | 0
69 |  | 12" GA. Hanger Wire To Structure @ 48" O.C. (9 EA, 46 LF) | 147 | SF | 0 | 0
70 |  | 1'-0" Wide 7830 Channel Molding | 29 | LF | 0 | 0
71 |  | KAM 21025 | 87 | LF | 0 | 0
72 |  | DW-90C | 29 | LF | 0 | 0
73 |  | DW-30C | 29 | LF | 0 | 0
74 |  | Corner Bead | 58 | LF | 0 | 0
7'-6" Wide Soffit At Reception
75 |  | 5/8" Gypsum Board | 113 | SF | 0 | 0
76 |  | Dry Wall Cross Tee @16" O.C. (13 EA, 98 LF) | 113 | SF | 0 | 0
77 |  | 12" GA. Hanger Wire To Structure @ 48" O.C. (5 EA, 38 LF) | 113 | SF | 0 | 0
78 |  | 1'-0" Wide 7830 Channel Molding | 15 | LF | 0 | 0
79 |  | KAM 21025 | 75 | LF | 0 | 0
80 |  | DW-90C | 30 | LF | 0 | 0
81 |  | DW-30C | 15 | LF | 0 | 0
82 |  | Corner Bead | 45 | LF | 0 | 0
|  | Subtotal (Finishes) |  |  |  |  | 0
DIVISION 10- SPECIALTIES
| A-012 & A-111 | Bath Room Accessories
|  | Toilet Toddler, Twaddler And Prepper |  | EA
|  | Double-Roll Toilet Tissue Dispenser-Bobrick # B-265 | 10 | EA | 0 | 0
|  | Surface Mounted Paper Towel Dispenser- Bobrick # B-262 | 5 | EA | 0 | 0
|  | Soap Dispenser- Bobrick # B-2111 | 5 | EA | 0 | 0
83 |  | Grab Bar- Bobrick # B-5806.99X36 Peened Gripping | 5 | EA | 0 | 0
84 |  | Grab Bar-Bobrick # B-5806.99X42 Peened Gripping | 5 | EA | 0 | 0
85 |  | Mirrors-Bobrick #B-165 -18"X30" Tempered Glass Mirror | 5 | EA | 0 | 0
86 |  | Use Pre-Formed Insulation On Hot Water Piping And Drain | 5 | EA | 0 | 0
87 |  | Grab Bar-Bobrick # B-5806.99X18 Peened Gripping | 5 | EA | 0 | 0
88 |  | Grab Bar-Bobrick # B-5806.99X24 Peened Gripping | 5 | EA | 0 | 0
Toilet Pre-1, Pre-2, Pre-3, Pre K-K & Make Believe Boulevard
89 |  | Double-Roll Toilet Tissue Dispenser-Bobrick # B-265 | 5 | EA | 0 | 0
90 |  | Surface Mounted Paper Towel Dispenser- Bobrick # B-262 | 5 | EA | 0 | 0
91 |  | Soap Dispenser- Bobrick # B-2111 | 5 | EA | 0 | 0
92 |  | Grab Bar- Bobrick # B-5806.99X36 Peened Gripping | 5 | EA | 0 | 0
93 |  | Grab Bar-Bobrick # B-5806.99X42 Peened Gripping | 5 | EA | 0 | 0
94 |  | Mirrors-Bobrick #B-165 -18"X30" Tempered Glass Mirror | 5 | EA | 0 | 0
95 |  | Use Pre-Formed Insulation On Hot Water Piping And Drain | 5 | EA | 0 | 0
96 |  | Grab Bar-Bobrick # B-5806.99X18 Peened Gripping | 5 | EA | 0 | 0
97 |  | Grab Bar-Bobrick # B-5806.99X24 Peened Gripping | 5 | EA | 0 | 0
Toilet Infant (For Teachers) And Staff Toilet
98 |  | Double-Roll Toilet Tissue Dispenser-Bobrick # B-265 | 3 | EA | 0 | 0
99 |  | Surface Mounted Paper Towel Dispenser- Bobrick # B-262 | 3 | EA | 0 | 0
100 |  | Soap Dispenser- Bobrick # B-2111 | 3 | EA | 0 | 0
101 |  | Grab Bar- Bobrick # B-5806.99X36 Peened Gripping | 3 | EA | 0 | 0
102 |  | Grab Bar-Bobrick # B-5806.99X42 Peened Gripping | 3 | EA | 0 | 0
103 |  | Mirrors-Bobrick #B-165 -18"X30" Tempered Glass Mirror | 3 | EA | 0 | 0
104 |  | Use Pre-Formed Insulation On Hot Water Piping And Drain | 3 | EA | 0 | 0
105 |  | Grab Bar-Bobrick # B-5806.99X18 Peened Gripping | 3 | EA | 0 | 0
|  | Subtotal (Specialties) |  |  |  |  | 0
| SUBTOTAL | [5 empty] | 0
| OVERHEAD & PROFIT |  | 20% |  |  |  | 0
| INSURANCE |  | 3% |  |  |  | 0
| CONTINGENCY |  | 7% |  |  |  | 0
TOTAL BASE BID | [6 empty] | 0
Note: