## SUMMARY Details
PROJECT ID: | 3975 22nd Street San Francisco, CA | Date: | 2019-08-06
AREA SUMMARY:
BUILDING GSF | 4984 | No. of Floors: | 4
First Floor (SF) | 1800
Second Floor (SF) | 1363
Third Floor (SF) | 1221
Fourth Floor (SF) | 600
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST | COST/ SF
Division 1 | General Requirements | 0 | 0
Division 2 | Site Work/ Existing Conditions | 0 | 0
Division 3 | Concrete | 0 | 0
Division 4 | Masonry | 0 | 0
Division 5 | Metals | 0 | 0
Division 6 | Wood, Plastics & Composites | 0 | 0
Division 7 | Thermal & Moisture Protection | 0 | 0
Division 8 | Openings | 0 | 0
Division 9 | Finishes | 0 | 0
Division 10 | Specialties | 0 | 0
Division 11 | Equipment | 0 | 0
Division 12 | Furnishing | 0 | 0
Division 13 | Special Construction | 0 | 0
Division 14 | Conveying System | 0 | 0
Division 21 | Fire Protection | 0 | 0
Division 22 | Plumbing | 0 | 0
Division 23 | HVAC/ Mechanical | 0 | 0
Division 26 | Electrical | 0 | 0
TOTAL TRADE COST |  | 0 | 0
OVERHEAD & PROFIT | 20% | 0 | 0
INSURANCE | 3% | 0 | 0
CONTINGENCY | 7% | 0 | 0
TOTAL TRADE COST |  | 0 | 0

## TAKEOFF Breakdown
CLIENT'S INFORMATION:
PROJECT ID: |  | 3975 22nd Street San Francisco, CA |  |  | CONTACT:
E-MAIL ADDRESS:
SCOPE: |  | Everything |  |  | PHONE NUMBER:
[5 empty] | Date: | 2019-08-06
ITEM # | DWG. # | DESCRIPTION | QUANTITY | UNIT | UNIT COST | TOTAL COST | TRADE COST
GENERAL REQUIREMENTS
1 |  | Supervision | 1 | LS | 0 | 0
2 |  | Permits | 1 | LS | 0 | 0
3 |  | Final Clean-up | 1 | LS | 0 | 0
4 |  | Mobilization Costs | 1 | LS | 0 | 0
5 |  | Project Overheads | 1 | LS | 0 | 0
6 |  | Bonds | 1 | LS | 0 | 0
7 |  | Temporary Control & Facilities | 1 | LS | 0 | 0
|  | Excavation | 142 | CY | 0 | 0
8 |  | Scaffolding | 6100 | SF | 0 | 0
|  | Subtotal (General Requirements) |  |  |  |  | 0
DIVISION 02- SITE WORK/ EXISTING CONDITIONS
| A1 | Demolition
9 |  | Concrete Platform To Be Demolished | 4 | SF | 0 | 0
10 |  | Ramp Structure To Be Demolished | 6 | SF | 0 | 0
11 |  | Garage Wall To Be Demolished | 22 | LF | 0 | 0
12 | A2 | Wall To Be Demolished | 54 | LF | 0 | 0
13 |  | Window To Be Demolished | 5 | EA | 0 | 0
14 |  | Single Leaf Door To Be Demolished | 6 | EA | 0 | 0
15 |  | Sliding Door To Be Demolished | 4 | EA | 0 | 0
|  | Subtotal (Site Work/ Existing Conditions) |  |  |  |  | 0
DIVISION 03- CONCRETE
| S1.0 | Foundation Concrete
16 |  | Stump Footing | 5.2 | CY | 0 | 0
17 |  | Pad Footing | 3.9 | CY | 0 | 0
|  | Subtotal (Concrete) |  |  |  |  | 0
DIVISION 04- MASONARY
| S1.0 | Wall
18 |  | Masonary Wall | 65 | SF | 0 | 0
|  | Subtotal (Concrete) |  |  |  |  | 0
DIVISION 05- METALS
| A8 | Roofing
19 |  | Corrugated Iron Roof | 253 | SF | 0 | 0
20 |  | Box Gutter | 32 | LF | 0 | 0
21 |  | Box Gutter Flashing | 18 | LF | 0 | 0
22 |  | Roof Gutter | 22 | LF | 0 | 0
23 |  | Down Pipes, 4 EA | 38 | LF | 0 | 0
24 |  | 300 Dia Sun Tunnel | 2 | EA | 0 | 0
25 |  | Barge Board | 26 | LF | 0 | 0
26 |  | Apron Flashing | 53 | LF | 0 | 0
27 |  | Wall Cladding | 68 | SF | 0 | 0
28 |  | Apron Flashing | 97 | LF | 0 | 0
29 |  | Parapet | 56 | LF | 0 | 0
30 |  | Ridge | 2.5 | LF | 0 | 0
31 |  | Hip | 62 | LF | 0 | 0
32 |  | Step Flashing At Exhaust | 5 | LF | 0 | 0
33 |  | Gutter | 103 | LF | 0 | 0
34 |  | Flashing At Mechanical Plant Roof Junction - TBC | 20 | LF | 0 | 0
35 |  | Skylight 500mm Dia | 5 | EA | 0 | 0
36 |  | Parapet Caping | 21 | LF | 0 | 0
37 |  | Fascia | 108 | LF | 0 | 0
|  | Subtotal (Metals) |  |  |  |  | 0
DIVISION 06- WOOD, PLASTIC & COMPOSITES
Wood
| S3 | (100x100) Treated Pine Stump "ST1", 25 EA | 42.5 | LF | 0 | 0
38 |  | Bearer "B1" (130x63) F16 Hyspan LVL | 11.43 | LF | 0 | 0
39 |  | Deck Bearer "DB-1" (140x45) MGP10 Treated Pine | 86 | LF | 0 | 0
39 | S4 | Floor Joist "FJ1" (130x45) Hyspan LVL @ 450 CTS | 30.41 | LF | 0 | 0
40 |  | Deck Joists "DJ1" (140x45) MGP10 Treated Pine @ 450 CTS | 174 | LF | 0 | 0
41 |  | Waler "W1" (140x45)MGP10 Treated Pine @ 600 CTS | 14.18 | LF | 0 | 0
42 |  | Roof Beam "RB1" (200x45) Hyspan LVL "OR" (190x45) F17 KDHW | 15 | LF | 0 | 0
43 |  | Roof Beam "RB2" (500x63) Hyspan LVL "OR" (230x75) PFC | 18 | LF | 0 | 0
44 |  | Roof Beam "RB3" (200x45) Hyspan LVL "OR" (190x45) F17 KDHW | 22 | LF | 0 | 0
45 |  | Roof Beam "RB4" (190x45) MGP10 Treated Pine | 29 | LF | 0 | 0
46 |  | Roof Beam "RB5" (190x45) MGP10 Treated Pine | 15 | LF | 0 | 0
47 |  | Roof Rafter "R1" (190x45) MGP10 Pine @ 900 CTS | 69 | LF | 0 | 0
48 |  | Roof Rafter "R2" (190x45) MGP10 Pine @ 900 CTS | 10.15 | LF | 0 | 0
49 | S3 | Post "P1", 6 EA (90x90) F7 H5 Treated Pine | 17 | LF | 0 | 0
50 |  | Post "P2", 2 EA (90x90) F7 H5 Treated Pine | 24 | LF | 0 | 0
51 |  | Double Stud "DS1", 4 EA (90x45) MGP10 Seasoned Softwood | 10.5 | LF | 0 | 0
52 |  | Double Stud "DS2" (90x45) MGP10 Seasoned Softwood "OR" (90x45) F17 K.D.H.W. | 38 | LF | 0 | 0
53 | S4 | Ceiling Battens @ 600 CTS Note - Size Not Specified | 33 | LF | 0 | 0
54 |  | (70x45) 10 MGP Pine Roof Battens | 2.3 | LF | 0 | 0
55 |  | (90x45) F17 KDHW Lintels | 7.01 | LF | 0 | 0
56 |  | (90x45) F17 KDHW Jamb Stud | 27 | LF | 0 | 0
57 |  | (190x45) MGP 10 Pine Treated Fascia Beam | 29.14 | LF | 0 | 0
58 |  | Durability Class 1 Decking Note: Material Need To Be Verify | 70.49 | SF | 0 | 0
Millwork
59 | A5 | 600mm Wide Full Height Shelf | 3.5 | LF | 0 | 0
60 |  | 600mm Wide Base Cabinet - TBC | 5.5 | LF | 0 | 0
61 |  | 600mm Wide Base Cabinet - TBC | 2.5 | LF | 0 | 0
62 |  | Kitchen Cabinet | 1 | EA | 0 | 0
|  | Subtotal (Wood & Plastic Composites) |  |  |  |  | 0
DIVISION 07- THERMAL & MOISTURE PROTECTION
| A3 | Thermal Insulation
63 |  | R2.5 Wall Bulk Insulation | 28 | SF | 0 | 0
64 |  | R2.5 Flooring Bulk Insulation | 15 | SF | 0 | 0
65 |  | R4.8 Roofing Bulk Insulation | 19 | SF | 0 | 0
|  | Subtotal (Thermal & Moisture Protection) |  |  |  |  | 0
DIVISION 08- OPENINGS
| A9 | Doors
66 |  | 820mm Wide CS Sliding Door | 5 | EA | 0 | 0
67 |  | 820mm Wide New Single Leaf Glazed Door W/. Timber Frame | 2 | EA | 0 | 0
Window
68 |  | (600x1500) Timber Awning Window | 3 | EA | 0 | 0
69 |  | (1000x1300) Timber Bi-Fold Window | 2 | EA | 0 | 0
|  | Subtotal (Openings) |  |  |  |  | 0
DIVISION 09- FINISHES
| A2 | Walls
100mm Thick Stud Wall (16.5 M )
70 |  | (90x45) F17 KDHW Wood Stud | 46.5 | SF | 0 | 0
71 |  | (90x45) Top And Bottom Plates | 50 | LF | 0 | 0
72 |  | Sealant | 66 | LF | 0 | 0
Ceiling
73 |  | 13mm Ceiling Plasterboard | 38 | SF | 0 | 0
74 |  | 200mm High Plasterboard Bulkhead | 7 | LF | 0 | 0
Flooring
75 |  | 19mm Particle Board Flooring | 15 | SF | 0 | 0
76 |  | Timber Floor | 50.84 | SF | 0 | 0
77 |  | Carpet | 37.18 | SF | 0 | 0
78 |  | Timber Floor (New) | 10.02 | SF | 0 | 0
79 |  | Polished Concrete | 22.39 | SF | 0 | 0
Tiles
80 |  | Bathroom And Laundry Tiles | 14.06 | SF | 0 | 0
81 |  | Shower Compartment Wall Tiles - 2000mm | 8.1 | SF | 0 | 0
82 |  | Wall Tiles In Enssuites And Laundry - 1000mm H | 18.47 | SF
Exterior
83 |  | James Hardie Sycon Axon Cladding Or Similar | 23 | SF | 0 | 0
Exterior Paint
84 |  | Exterior Brick Veneer To Be Painted -TBC | 83 | SF | 0 | 0
85 |  | Exterior Roof Brick Veneer To Be Painted -TBC | 115 | SF | 0 | 0
86 |  | Soffit To Be Painted - TBC | 20 | SF | 0 | 0
Ceiling Paint
87 |  | New Plasterboard Ceiling In Dry Area | 16 | SF | 0 | 0
88 |  | New Plasterboard Ceiling In Wet Area | 4 | SF | 0 | 0
89 |  | Existing Plasterboard Ceiling In Dry Area | 110 | SF | 0 | 0
90 |  | Existing Plasterboard Ceiling In Wet Area | 4 | SF | 0 | 0
Wall Paint
91 |  | Existig Plasterboard Wall In Dry Area | 306 | SF | 0 | 0
92 |  | Existig Plasterboard Wall In Wet Area | 17 | SF | 0 | 0
93 |  | New Plasterboard Wall In Dry Area | 30 | SF | 0 | 0
94 |  | New Plasterboard Wall In Wet Area | 45 | SF | 0 | 0
Door Paint
95 |  | Existing Single Leaf Door | 6 | EA | 0 | 0
96 |  | Existing Double Leaf Door | 2 | EA | 0 | 0
97 |  | New Single Leaf Exterior Door | 1 | EA | 0 | 0
|  | Subtotal (Finishes) |  |  |  |  | 0
DIVISION 10- SPECIALTIES
98 | A2 | Kitchen Countertop | 4 | SF | 0 | 0
99 |  | Lavatory Countertop | 4.2 | SF | 0 | 0
|  | Subtotal (Specialties) |  |  |  |  | 0
DIVISION 11- EQUIPMENT
| A2 | Kitchen & Bath
100 |  | Lavotry | 2 | EA | 0 | 0
101 |  | Water Closet | 2 | EA | 0 | 0
102 |  | Dish Washer | 1 | EA | 0 | 0
103 |  | Range Hood | 1 | EA | 0 | 0
104 |  | Hot Plate | 1 | EA | 0 | 0
105 |  | Fridge | 1 | EA | 0 | 0
106 |  | Washing Machine | 1 | EA | 0 | 0
|  | Subtotal (Equipment) |  |  |  |  | 0
DIVISION 16- ELECTRICAL
| A11 | Electrical
107 |  | 15 Watt External Light | 5 | EA | 0 | 0
108 |  | Exhaust Fan | 9 | EA | 0 | 0
109 |  | Smoke Detector Code: AS 3786 | 3 | EA | 0 | 0
110 |  | 15 Watt Compact Flouro | 15 | EA | 0 | 0
111 |  | 2x36 Watt Flouro Drop W/Diffuser | 2 | EA | 0 | 0
|  | Subtotal (Equipment) |  |  |  |  | 0
| SUBTOTAL | [5 empty] | 0
| OVERHEAD & PROFIT |  | 20% |  |  |  | 0
| INSURANCE |  | 3% |  |  |  | 0
| CONTINGENCY |  | 7% |  |  |  | 0
TOTAL BASE BID | [6 empty] | 0
Note: