## TAKE-OFF
Project ID: |  | 16 Tech. Innovation Hub
Scope: |  | HVAC
Date: |  | 2019-12-10
SR # | REF. DWG. | CSI DIVISION | DESCRIPTION | UNIT | QUANTITY | WASTAGE | QUANTITY W/ WASTAGE | UNIT COST | LABOUR COST | SUB COST
|  | 23000 | HVAC/MECHANICAL
| 2-H100 2-H101 2-H102 2-H103 |  | Office Building
Basement
Rectangular Ducts
1 |  |  | (24/18) Rectangular Duct Work | LF | 6 | 0% | 6 | 0 | 0 | 0
2 |  |  | (14/14) Rectangular Duct Work | LF | 20 | 0% | 20 | 0 | 0 | 0
3 |  |  | (12/14) Rectangular Duct Work | LF | 25 | 0% | 25 | 0 | 0 | 0
Circular Ducts
4 |  |  | (12" dia.) Circular Duct Work | LF | 6 | 0% | 6 | 0 | 0 | 0
Fittings
5 |  |  | (14/14) Radius Ductwork Elbow (Centerline Radius 1.5 x W) | EA | 1 | 0% | 1 | 0 | 0 | 0
6 |  |  | (12/14) Radius Ductwork Elbow (Centerline Radius 1.5 x W) | EA | 1 | 0% | 1 | 0 | 0 | 0
7 |  |  | (12/14 to 12 dia.) Conical Fitting | EA | 2 | 0% | 2 | 0 | 0 | 0
8 |  |  | (12 dia.) Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
9 |  |  | Volume Damper | EA | 2 | 0% | 2 | 0 | 0 | 0
10 |  |  | Fire Damper | EA | 4 | 0% | 4 | 0 | 0 | 0
11 |  |  | Thermostat | EA | 2 | 0% | 2 | 0 | 0 | 0
12 |  |  | (24/18)(1/2" x 1/2") Mesh Grille w/ Frame | EA | 2 | 0% | 2 | 0 | 0 | 0
13 |  |  | (14/14)(1/2" x 1/2") Mesh Grille w/ Frame | EA | 1 | 0% | 1 | 0 | 0 | 0
First Floor
Rectangular Ducts
14 |  |  | (54/18) Rectangular Duct Work | LF | 7 | 0% | 7 | 0 | 0 | 0
15 |  |  | (48/18) Rectangular Duct Work | LF | 1300 | 0% | 1300 | 0 | 0 | 0
16 |  |  | (38/26) Rectangular Duct Work | LF | 10 | 0% | 10 | 0 | 0 | 0
17 |  |  | (36/24) Rectangular Duct Work | LF | 36 | 0% | 36 | 0 | 0 | 0
18 |  |  | (24/12) Rectangular Duct Work | LF | 145 | 0% | 145 | 0 | 0 | 0
19 |  |  | (24/8) Rectangular Duct Work | LF | 20 | 0% | 20 | 0 | 0 | 0
20 |  |  | (22/18) Rectangular Duct Work | LF | 10 | 0% | 10 | 0 | 0 | 0
21 |  |  | (22/10) Rectangular Duct Work | LF | 18 | 0% | 18 | 0 | 0 | 0
22 |  |  | (20/8) Rectangular Duct Work | LF | 10 | 0% | 10 | 0 | 0 | 0
23 |  |  | (18/6) Rectangular Duct Work | LF | 27 | 0% | 27 | 0 | 0 | 0
24 |  |  | (16/8) Rectangular Duct Work | LF | 17 | 0% | 17 | 0 | 0 | 0
25 |  |  | (14/12) Rectangular Duct Work | LF | 21 | 0% | 21 | 0 | 0 | 0
26 |  |  | (14/10) Rectangular Duct Work | LF | 12 | 0% | 12 | 0 | 0 | 0
27 |  |  | (14/8) Rectangular Duct Work | LF | 8 | 0% | 8 | 0 | 0 | 0
28 |  |  | (14/4) Rectangular Duct Work | LF | 7 | 0% | 7 | 0 | 0 | 0
29 |  |  | (12/10) Rectangular Duct Work | LF | 34 | 0% | 34 | 0 | 0 | 0
30 |  |  | (12/6) Rectangular Duct Work | LF | 74 | 0% | 74 | 0 | 0 | 0
31 |  |  | (10/8) Rectangular Duct Work | LF | 24 | 0% | 24 | 0 | 0 | 0
32 |  |  | (8/8) Rectangular Duct Work | LF | 30 | 0% | 30 | 0 | 0 | 0
33 |  |  | (6/6) Rectangular Duct Work | LF | 6 | 0% | 6 | 0 | 0 | 0
Circular Duct Works
34 |  |  | (6" dia.) Circular Duct Work | LF | 31 | 0% | 31 | 0 | 0 | 0
35 |  |  | (8" dia.) Circular Duct Work | LF | 270 | 0% | 270 | 0 | 0 | 0
36 |  |  | (10" dia.) Circular Duct Work | LF | 385 | 0% | 385 | 0 | 0 | 0
37 |  |  | (12" dia.) Circular Duct Work | LF | 314 | 0% | 314 | 0 | 0 | 0
38 |  |  | (14" dia.) Circular Duct Work | LF | 290 | 0% | 290 | 0 | 0 | 0
39 |  |  | (16" dia.) Circular Duct Work | LF | 15 | 0% | 15 | 0 | 0 | 0
40 |  |  | Flexible Ductwork to Diffuser | LF | 20 | 0% | 20 | 0 | 0 | 0
Fittings
41 |  |  | (48/18) Radius Ductwork Elbow (Centerline Radius 1.5 x W) | EA | 18 | 0% | 18 | 0 | 0 | 0
42 |  |  | (36/24) Radius Ductwork Elbow (Centerline Radius 1.5 x W) | EA | 1 | 0% | 1 | 0 | 0 | 0
43 |  |  | (16/8) Radius Ductwork Elbow (Centerline Radius 1.5 x W) | EA | 1 | 0% | 1 | 0 | 0 | 0
44 |  |  | (12/6) Radius Ductwork Elbow (Centerline Radius 1.5 x W) | EA | 4 | 0% | 4 | 0 | 0 | 0
45 |  |  | (48/18) 45d Radius Ductwork Elbow (Centerline Radius 1.5 x W) | EA | 2 | 0% | 2 | 0 | 0 | 0
46 |  |  | (38/26) 45d Radius Ductwork Elbow (Centerline Radius 1.5 x W) | EA | 1 | 0% | 1 | 0 | 0 | 0
47 |  |  | (48/18) Wye Radius Ductwork Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0
48 |  |  | (48/18 to 36/24) Eccentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
49 |  |  | (48/18 to 36/24) Concentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
50 |  |  | (48/18 to 38/26) Concentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
51 |  |  | (16/8 to 12/6) Concentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
52 |  |  | (14/12 to 12/10) Concentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
53 |  |  | (14/10 to 10/8) Concentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
54 |  |  | (12/10 to 8 dia.) Concentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
55 |  |  | (24/12) Mitered Ductwork Elbow with Turning Vanes | EA | 9 | 0% | 9 | 0 | 0 | 0
56 |  |  | (24/8) Mitered Ductwork Elbow with Turning Vanes | EA | 1 | 0% | 1 | 0 | 0 | 0
57 |  |  | (22/10) Mitered Ductwork Elbow with Turning Vanes | EA | 1 | 0% | 1 | 0 | 0 | 0
58 |  |  | (20/8) Mitered Ductwork Elbow with Turning Vanes | EA | 1 | 0% | 1 | 0 | 0 | 0
59 |  |  | (18/6) Mitered Ductwork Elbow with Turning Vanes | EA | 2 | 0% | 2 | 0 | 0 | 0
60 |  |  | (12/6) Mitered Ductwork Elbow with Turning Vanes | EA | 2 | 0% | 2 | 0 | 0 | 0
61 |  |  | (6/6) Mitered Ductwork Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
62 |  |  | (48/18) 45d Beveled Fitting | EA | 2 | 0% | 2 | 0 | 0 | 0
63 |  |  | (24/12) 45d Beveled Fitting | EA | 1 | 0% | 1 | 0 | 0 | 0
64 |  |  | (12/10 to 14/4) 45d Beveled Fitting | EA | 1 | 0% | 1 | 0 | 0 | 0
65 |  |  | (12/10 to 12/6) 45d Beveled Fitting | EA | 1 | 0% | 1 | 0 | 0 | 0
66 |  |  | (12/10 to 6/6) 45d Beveled Fitting | EA | 1 | 0% | 1 | 0 | 0 | 0
67 |  |  | (12/6 to 14/8) 45d Beveled Fitting | EA | 1 | 0% | 1 | 0 | 0 | 0
68 |  |  | (12/10 to 12/6) Connection | EA | 2 | 0% | 2 | 0 | 0 | 0
69 |  |  | (48/18) Connection | EA | 1 | 0% | 1 | 0 | 0 | 0
70 |  |  | (48/18 to 14 dia.) Conical Fitting | EA | 3 | 0% | 3 | 0 | 0 | 0
71 |  |  | (48/18 to 12 dia.) Conical Fitting | EA | 20 | 0% | 20 | 0 | 0 | 0
72 |  |  | (48/18 to 10 dia.) Conical Fitting | EA | 19 | 0% | 19 | 0 | 0 | 0
73 |  |  | (48/18 to 8 dia.) Conical Fitting | EA | 7 | 0% | 7 | 0 | 0 | 0
74 |  |  | (48/18 to 6 dia.) Conical Fitting | EA | 1 | 0% | 1 | 0 | 0 | 0
75 |  |  | (6" dia.) Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
76 |  |  | (8" dia.) Transition | EA | 7 | 0% | 7 | 0 | 0 | 0
77 |  |  | (10" dia.) Transition | EA | 19 | 0% | 19 | 0 | 0 | 0
78 |  |  | (12 dia.) Transition | EA | 21 | 0% | 21 | 0 | 0 | 0
79 |  |  | (14" dia.) Transition | EA | 3 | 0% | 3 | 0 | 0 | 0
80 |  |  | (8" dia.) Radius Ductwork Elbow (Centerline Radius 1.5 x W) | EA | 8 | 0% | 8 | 0 | 0 | 0
81 |  |  | (10" dia.) Radius Ductwork Elbow (Centerline Radius 1.5 x W) | EA | 12 | 0% | 12 | 0 | 0 | 0
82 |  |  | (12" dia.) Radius Ductwork Elbow (Centerline Radius 1.5 x W) | EA | 7 | 0% | 7 | 0 | 0 | 0
83 |  |  | (14" dia.) Radius Ductwork Elbow (Centerline Radius 1.5 x W) | EA | 6 | 0% | 6 | 0 | 0 | 0
84 |  |  | (16" dia. to 14" dia.) Concentric Ductwork Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
85 |  |  | (14" dia. to 12" dia.) Concentric Ductwork Transition | EA | 3 | 0% | 3 | 0 | 0 | 0
86 |  |  | (14" dia. to 10" dia.) Concentric Ductwork Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
87 |  |  | (14" dia. to 6" dia.) Concentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
88 |  |  | (12" dia. to 10" dia.) Concentric Ductwork Transition | EA | 5 | 0% | 5 | 0 | 0 | 0
89 |  |  | (12" dia. to 8" dia.) Concentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
90 |  |  | (10" dia. to 8" dia.) Concentric Ductwork Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
91 |  |  | (10" dia. to 6" dia.) Concentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
92 |  |  | (16 x 14 x 14) Tee | EA | 1 | 0% | 1 | 0 | 0 | 0
93 |  |  | (14 x 14 x 14) Tee | EA | 1 | 0% | 1 | 0 | 0 | 0
94 |  |  | (14 x 12 x 12) Tee | EA | 3 | 0% | 3 | 0 | 0 | 0
95 |  |  | (14 x 12 x 10) Tee | EA | 1 | 0% | 1 | 0 | 0 | 0
96 |  |  | (14 x 12 x 8) Tee | EA | 1 | 0% | 1 | 0 | 0 | 0
97 |  |  | (12 x 12 x 10) Tee | EA | 1 | 0% | 1 | 0 | 0 | 0
98 |  |  | (12 x 12 x 8) Tee | EA | 6 | 0% | 6 | 0 | 0 | 0
99 |  |  | (12 x 10 x 10) Tee | EA | 3 | 0% | 3 | 0 | 0 | 0
100 |  |  | (12 x 10 x 8) Tee | EA | 2 | 0% | 2 | 0 | 0 | 0
101 |  |  | (12 x 8 x 8) Tee | EA | 2 | 0% | 2 | 0 | 0 | 0
102 |  |  | (10 x 10 x 10) Tee | EA | 1 | 0% | 1 | 0 | 0 | 0
103 |  |  | (10 x 10 x 8) Tee | EA | 1 | 0% | 1 | 0 | 0 | 0
104 |  |  | (8 x 8 x 8) Tee | EA | 1 | 0% | 1 | 0 | 0 | 0
105 |  |  | (10 x 10 x 10 x 8) Cross | EA | 1 | 0% | 1 | 0 | 0 | 0
106 |  |  | Thermostat | EA | 48 | 0% | 48 | 0 | 0 | 0
107 |  |  | Volume Damper / Balance | EA | 56 | 0% | 56 | 0 | 0 | 0
108 |  |  | Motorized Damper | EA | 1 | 0% | 1 | 0 | 0 | 0
109 |  |  | Fire Damper | EA | 4 | 0% | 4 | 0 | 0 | 0
110 |  |  | Circular Plaque Ceiling Diffuser (Neck Dia. = 14") | EA | 20 | 0% | 20 | 0 | 0 | 0
111 |  |  | Circular Plaque Ceiling Diffuser (Neck Dia. = 12") | EA | 11 | 0% | 11 | 0 | 0 | 0
112 |  |  | Circular Plaque Ceiling Diffuser (Neck Dia. = 10") | EA | 28 | 0% | 28 | 0 | 0 | 0
113 |  |  | Circular Plaque Ceiling Diffuser (Neck Dia. = 8") | EA | 15 | 0% | 15 | 0 | 0 | 0
114 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck Dia. 10") | EA | 14 | 0% | 14 | 0 | 0 | 0
115 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck Dia. 8") | EA | 14 | 0% | 14 | 0 | 0 | 0
116 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck Dia. 6") | EA | 6 | 0% | 6 | 0 | 0 | 0
117 |  |  | (40/20) Transfer Grille | EA | 4 | 0% | 4 | 0 | 0 | 0
118 |  |  | (26/10) Transfer Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
119 |  |  | (24/12) Transfer Grille | EA | 18 | 0% | 18 | 0 | 0 | 0
120 |  |  | (20/8) Transfer Grille | EA | 3 | 0% | 3 | 0 | 0 | 0
121 |  |  | (14/8) Transfer Grille | EA | 2 | 0% | 2 | 0 | 0 | 0
122 |  |  | (12/10) Transfer Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
123 |  |  | (6/6) Transfer Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
124 |  |  | (24/12) Egg Crate Grille | EA | 6 | 0% | 6 | 0 | 0 | 0
125 |  |  | (10/10) Egg Crate Grille | EA | 9 | 0% | 9 | 0 | 0 | 0
126 |  |  | (8/8) Egg Crate Grille | EA | 5 | 0% | 5 | 0 | 0 | 0
127 |  |  | (54/18)(1/2" x 1/2") Mesh Grille w/ Frame | EA | 2 | 0% | 2 | 0 | 0 | 0
128 |  |  | (50/20)(1/2" x 1/2") Mesh Grille w/ Frame | EA | 1 | 0% | 1 | 0 | 0 | 0
129 |  |  | (48/18)(1/2" x 1/2") Mesh Grille w/ Frame | EA | 7 | 0% | 7 | 0 | 0 | 0
130 |  |  | (12/10) Exhaust Grille | EA | 2 | 0% | 2 | 0 | 0 | 0
131 |  |  | (10/12) Exhaust Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
132 |  |  | (8/8) Exhaust Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
133 |  |  | (6/6) Exhaust Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
Second Floor
134 |  |  | Volume Damper / Balance | EA | 11 | 0% | 11 | 0 | 0 | 0
135 |  |  | Motorized Damper | EA | 2 | 0% | 2 | 0 | 0 | 0
136 |  |  | Fire Damper | EA | 3 | 0% | 3 | 0 | 0 | 0
137 |  |  | Thermostat | EA | 47 | 0% | 47 | 0 | 0 | 0
138 |  |  | Circular Plaque Ceiling Diffuser (Neck = 14") | EA | 27 | 0% | 27 | 0 | 0 | 0
139 |  |  | Circular Plaque Ceiling Diffuser (Neck = 12") | EA | 21 | 0% | 21 | 0 | 0 | 0
140 |  |  | Circular Plaque Ceiling Diffuser (Neck = 10") | EA | 1 | 0% | 1 | 0 | 0 | 0
141 |  |  | Circular Plaque Ceiling Diffuser (Neck = 8") | EA | 3 | 0% | 3 | 0 | 0 | 0
142 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck = 12") | EA | 1 | 0% | 1 | 0 | 0 | 0
143 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck = 10") | EA | 5 | 0% | 5 | 0 | 0 | 0
144 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck = 8") | EA | 7 | 0% | 7 | 0 | 0 | 0
145 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck = 6") | EA | 7 | 0% | 7 | 0 | 0 | 0
146 |  |  | (12/12) EGC Crate Grille | EA | 3 | 0% | 3 | 0 | 0 | 0
147 |  |  | (8/8) EGC Crate Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
148 |  |  | (24/12) EGC Crate Grille | EA | 2 | 0% | 2 | 0 | 0 | 0
149 |  |  | (8/8) EGC Crate Grille | EA | 5 | 0% | 5 | 0 | 0 | 0
150 |  |  | (6/6) EGC Crate Grille | EA | 3 | 0% | 3 | 0 | 0 | 0
151 |  |  | (12/10) Exhaust Grille | EA | 4 | 0% | 4 | 0 | 0 | 0
152 |  |  | (8/8) Exhaust Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
153 |  |  | (22/12) Transfer Grille | EA | 2 | 0% | 2 | 0 | 0 | 0
154 |  |  | (12/12) Transfer Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
155 |  |  | (8/8) Transfer Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
156 |  |  | (6/6) Supply Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
157 |  |  | (16" x 8") Brick Vent | EA | 2 | 0% | 2 | 0 | 0 | 0
158 |  |  | (78/18)(1/2" x 1/2") Mesh Grille w/ Frame | EA | 4 | 0% | 4 | 0 | 0 | 0
159 |  |  | (54/20)(1/2" x 1/2") Mesh Grille w/ Frame | EA | 1 | 0% | 1 | 0 | 0 | 0
160 |  |  | (52/18)(1/2" x 1/2") Mesh Grille w/ Frame | EA | 1 | 0% | 1 | 0 | 0 | 0
Rectangular Duct
161 |  |  | (6/6) Rectangular Duct Work | LF | 16.16 | 0% | 16.16 | 0 | 0 | 0
162 |  |  | (8/8) Rectangular Duct Work | LF | 32.29 | 0% | 32.29 | 0 | 0 | 0
163 |  |  | (10/10) Rectangular Duct Work | LF | 12.22 | 0% | 12.22 | 0 | 0 | 0
164 |  |  | (12/6) Rectangular Duct Work | LF | 8.53 | 0% | 8.53 | 0 | 0 | 0
165 |  |  | (12/12) Rectangular Duct Work | LF | 17.14 | 0% | 17.14 | 0 | 0 | 0
166 |  |  | (16/8) Rectangular Duct Work | LF | 20.75 | 0% | 20.75 | 0 | 0 | 0
167 |  |  | (22/12) Rectangular Duct Work | LF | 12.99 | 0% | 12.99 | 0 | 0 | 0
168 |  |  | (22 x 10) Rectangular Duct Work | LF | 7.67 | 0% | 7.67 | 0 | 0 | 0
169 |  |  | (22/10) Rectangular Duct Work | LF | 3.47 | 0% | 3.47 | 0 | 0 | 0
170 |  |  | (24/12) Rectangular Duct Work | LF | 6.71 | 0% | 6.71 | 0 | 0 | 0
171 |  |  | (29/74) Rectangular Duct Work | LF | 29.04 | 0% | 29.04 | 0 | 0 | 0
172 |  |  | (32/69) Rectangular Duct Work | LF | 23.75 | 0% | 23.75 | 0 | 0 | 0
173 |  |  | (34/71) Rectangular Duct Work | LF | 44.41 | 0% | 44.41 | 0 | 0 | 0
174 |  |  | (36 x 24) Rectangular Duct Work | LF | 30.46 | 0% | 30.46 | 0 | 0 | 0
175 |  |  | (48 x 18) Rectangular Duct Work | LF | 1543.03 | 0% | 1543.03 | 0 | 0 | 0
176 |  |  | (48 X 24) Rectangular Duct Work | LF | 20.76 | 0% | 20.76 | 0 | 0 | 0
177 |  |  | (52/18) Rectangular Duct Work | LF | 12.48 | 0% | 12.48 | 0 | 0 | 0
178 |  |  | (58/18) Rectangular Duct Work | LF | 5.82 | 0% | 5.82 | 0 | 0 | 0
179 |  |  | (68/18) Rectangular Duct Work | LF | 20 | 0% | 20 | 0 | 0 | 0
180 |  |  | (78/18) Rectangular Duct Work | LF | 21.27 | 0% | 21.27 | 0 | 0 | 0
Circular Duct
181 |  |  | (6") Dia. Duct Work | LF | 81.31 | 0% | 81.31 | 0 | 0 | 0
182 |  |  | (8") Dia. Duct Work | LF | 125.24 | 0% | 125.24 | 0 | 0 | 0
183 |  |  | (10") Dia. Duct Work | LF | 128.06 | 0% | 128.06 | 0 | 0 | 0
184 |  |  | (12") Dia. Duct Work | LF | 280.71 | 0% | 280.71 | 0 | 0 | 0
185 |  |  | (14") Dia. Duct Work | LF | 403.16 | 0% | 403.16 | 0 | 0 | 0
186 |  |  | (16") Dia. Duct Work | LF | 54 | 0% | 54 | 0 | 0 | 0
187 |  |  | (18") Dia. Duct Work | LF | 6.39 | 0% | 6.39 | 0 | 0 | 0
188 |  |  | Flexible Duct | LF | 44.77 | 0% | 44.77 | 0 | 0 | 0
Duct Transitions
189 |  |  | (48 /18 ) to (78 /18) Eccentric Duct Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
190 |  |  | (36 /24) to (48 /24)Concentric Duct Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
191 |  |  | (16 /8) to (12 /6) Concentric DuctWork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
192 |  |  | (18" Dia. to 14" Dia.) Concentric Ductwork Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
193 |  |  | (16" Dia. to 14" Dia.) Concentric Ductwork Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
194 |  |  | (16" Dia. to 12" Dia.) Concentric Ductwork Transition | EA | 6 | 0% | 6 | 0 | 0 | 0
195 |  |  | (14" Dia. to 16" Dia.) Concentric Ductwork Transition | EA | 5 | 0% | 5 | 0 | 0 | 0
196 |  |  | (14" Dia. to 12" Dia.) Concentric Ductwork Transition | EA | 8 | 0% | 8 | 0 | 0 | 0
197 |  |  | (14" Dia. to 8" Dia.) Concentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
198 |  |  | (14" Dia. to 6" Dia.) Concentric Ductwork Transition | EA | 3 | 0% | 3 | 0 | 0 | 0
199 |  |  | (12" Dia. to 10" Dia.) Concentric Ductwork Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
200 |  |  | (12" Dia. to 8" Dia.) Concentric Ductwork Transition | EA | 3 | 0% | 3 | 0 | 0 | 0
201 |  |  | (12" Dia. to 6" Dia.) Concentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
202 |  |  | (8" Dia. to 6" Dia.) Concentric Ductwork Transition | EA | 8 | 0% | 8 | 0 | 0 | 0
Duct Connections
203 |  |  | (16/8) Concentric Ductwork Connection | EA | 2 | 0% | 2 | 0 | 0 | 0
204 |  |  | (6") Dia. Concentric Ductwork Connection | EA | 11 | 0% | 11 | 0 | 0 | 0
205 |  |  | (8") Dia. Concentric Ductwork Connection | EA | 22 | 0% | 22 | 0 | 0 | 0
206 |  |  | (12") Dia. Concentric Ductwork Connection | EA | 15 | 0% | 15 | 0 | 0 | 0
207 |  |  | (10") Dia. Concentric Ductwork Connection | EA | 17 | 0% | 17 | 0 | 0 | 0
208 |  |  | (14") Dia. Concentric Ductwork Connection | EA | 32 | 0% | 32 | 0 | 0 | 0
209 |  |  | (18") Dia. Concentric Ductwork Connection | EA | 1 | 0% | 1 | 0 | 0 | 0
210 |  |  | (16") Dia. Concentric Ductwork Connection | EA | 8 | 0% | 8 | 0 | 0 | 0
Duct Fittings
211 |  |  | (48 /18) Wye Radius Duct Work Elbow | EA | 5 | 0% | 5 | 0 | 0 | 0
212 |  |  | (48 /18) Radius Duct Work Elbow | EA | 24 | 0% | 24 | 0 | 0 | 0
213 |  |  | (36 /24) Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
214 |  |  | (36 /24) 45 Degree Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
215 |  |  | (48 /24) 45 Degree Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
216 |  |  | (14" Dia. To 16" Dia.) Radius Ductwork Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
217 |  |  | (12" Dia.) Radius Ductwork Elbow | EA | 6 | 0% | 6 | 0 | 0 | 0
218 |  |  | (8" Dia.) Radius Ductwork Elbow | EA | 4 | 0% | 4 | 0 | 0 | 0
219 |  |  | (14" Dia.) Radius Ductwork Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
220 |  |  | (14" Dia. To 10" Dia.) Radius Ductwork Elbow | EA | 3 | 0% | 3 | 0 | 0 | 0
221 |  |  | (16/8) Radius Ductwork Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
222 |  |  | (18" Dia. x 18" Dia. x 14" Dia.) Tee Connection | EA | 1 | 0% | 1 | 0 | 0 | 0
223 |  |  | (16" Dia. x 16" Dia. x 14" Dia.) Tee Connection | EA | 1 | 0% | 1 | 0 | 0 | 0
224 |  |  | (16" Dia. x 16" Dia. x 12" Dia.) Tee Connection | EA | 2 | 0% | 2 | 0 | 0 | 0
225 |  |  | (14" Dia. x 12" Dia. x 12" Dia.) Tee Connection | EA | 1 | 0% | 1 | 0 | 0 | 0
226 |  |  | (14" Dia. x 12" Dia. x 8" Dia.) Tee Connection | EA | 1 | 0% | 1 | 0 | 0 | 0
227 |  |  | (12" Dia. x 12" Dia. x 8" Dia.) Tee Connection | EA | 2 | 0% | 2 | 0 | 0 | 0
228 |  |  | (12" Dia. x 12" Dia. x 6" Dia.) Tee Connection | EA | 3 | 0% | 3 | 0 | 0 | 0
229 |  |  | (10" Dia. x 10" Dia. x 8" Dia.) Tee Connection | EA | 2 | 0% | 2 | 0 | 0 | 0
230 |  |  | (48 /18 To 48/18) 45 Degree Beveled Fitting | EA | 2 | 0% | 2 | 0 | 0 | 0
231 |  |  | (68/18 To 52/18) 45 Degree Beveled Fitting | EA | 1 | 0% | 1 | 0 | 0 | 0
232 |  |  | (48/18 To 10" Dia.) Conical Fitting | EA | 3 | 0% | 3 | 0 | 0 | 0
233 |  |  | (48/18 To 14" Dia.) Conical Fitting | EA | 14 | 0% | 14 | 0 | 0 | 0
234 |  |  | (48/18 To 10" Dia.) Conical Fitting | EA | 10 | 0% | 10 | 0 | 0 | 0
235 |  |  | (48/18 To 8" Dia.) Conical Fitting | EA | 3 | 0% | 3 | 0 | 0 | 0
236 |  |  | (48/18 To 12" Dia.) Conical Fitting | EA | 6 | 0% | 6 | 0 | 0 | 0
237 |  |  | (48/18 To 6" Dia.) Conical Fitting | EA | 3 | 0% | 3 | 0 | 0 | 0
238 |  |  | (48/18 To 8" Dia.) Conical Fitting | EA | 2 | 0% | 2 | 0 | 0 | 0
| 1-H101 1-H102 |  | Garage
First Floor
Rectangular Ducts
239 |  |  | (10/8) Rectangular Duct Work | LF | 57 | 0% | 57 | 0 | 0 | 0
240 |  |  | (12/10) Rectangular Duct Work | LF | 33 | 0% | 33 | 0 | 0 | 0
241 |  |  | (12/8) Rectangular Duct Work | LF | 24 | 0% | 24 | 0 | 0 | 0
242 |  |  | (14/13) Rectangular Duct Work | LF | 10 | 0% | 10 | 0 | 0 | 0
243 |  |  | (14/14) Rectangular Duct Work | LF | 4 | 0% | 4 | 0 | 0 | 0
244 |  |  | (16/10) Rectangular Duct Work | LF | 11 | 0% | 11 | 0 | 0 | 0
245 |  |  | (16/15) Rectangular Duct Work | LF | 19 | 0% | 19 | 0 | 0 | 0
246 |  |  | (16/16) Rectangular Duct Work | LF | 2 | 0% | 2 | 0 | 0 | 0
247 |  |  | (16/8) Rectangular Duct Work | LF | 47 | 0% | 47 | 0 | 0 | 0
248 |  |  | (18/12) Rectangular Duct Work | LF | 54 | 0% | 54 | 0 | 0 | 0
249 |  |  | (18/18) Rectangular Duct Work | LF | 15 | 0% | 15 | 0 | 0 | 0
250 |  |  | (18/8) Rectangular Duct Work | LF | 34 | 0% | 34 | 0 | 0 | 0
251 |  |  | (24/18) Rectangular Duct Work | LF | 43 | 0% | 43 | 0 | 0 | 0
252 |  |  | (24/20) Rectangular Duct Work | LF | 29 | 0% | 29 | 0 | 0 | 0
253 |  |  | (24/24) Rectangular Duct Work | LF | 11 | 0% | 11 | 0 | 0 | 0
254 |  |  | (18/16) Rectangular Duct Work | LF | 11 | 0% | 11 | 0 | 0 | 0
255 |  |  | (46/12) Rectangular Duct Work | LF | 16 | 0% | 16 | 0 | 0 | 0
256 |  |  | (52/16) Rectangular Duct Work | LF | 103 | 0% | 103 | 0 | 0 | 0
257 |  |  | (16/16/8) Rectangular Duct Work | LF | 35 | 0% | 35 | 0 | 0 | 0
258 |  |  | (10/8) to (16/8) Concentric Duct Work Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
Circular Ducts
259 |  |  | (8") dia. Circular Duct Work | LF | 36 | 0% | 36 | 0 | 0 | 0
260 |  |  | (10") dia. Circular Duct Work | LF | 3 | 0% | 3 | 0 | 0 | 0
261 |  |  | (12") dia. Circular Duct Work | LF | 61 | 0% | 61 | 0 | 0 | 0
262 |  |  | (14") dia. Circular Duct Work | LF | 39 | 0% | 39 | 0 | 0 | 0
263 |  |  | (16") dia. Circular Duct Work | LF | 162 | 0% | 162 | 0 | 0 | 0
264 |  |  | (22") dia. Circular Duct Work | LF | 51 | 0% | 51 | 0 | 0 | 0
Fittings
265 |  |  | (12/10) to (14/13) Radius Ductwork Elbow | EA | 3 | 0% | 3 | 0 | 0 | 0
266 |  |  | (12/10) to (14/13) Concentric Duct Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
267 |  |  | (12/8) to (18/12) Eccentric Duct Transition | EA | 4 | 0% | 4 | 0 | 0 | 0
268 |  |  | (14/14) to (16/14) Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
269 |  |  | (14/14) to (18/18) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
|  |  | (16/10) to (16/8) Radius Duct Work Elbow | LF | 0 | 0% | 0
270 |  |  | (16/10) to (16/8) Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
271 |  |  | (16/15) to (16/8) WYE DuctWork Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
272 |  |  | (16/16/8) to (16/10) Eccentric Duct Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
273 |  |  | (16/8) to (16/10) Eccentric Duct Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
274 |  |  | (18/12) to (14") dia. Concentric Duct Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
275 |  |  | (18/12) to (14") dia. Radius Ductwork Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0
276 |  |  | (18/16) to (18/8) Concentric Duct Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
277 |  |  | (24/24) to (12/10) Concentric Duct Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
278 |  |  | (10") dia. to (8") dia. Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
279 |  |  | (12") dia. to (16/15) Concentric Duct Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
280 |  |  | (12") dia. to (16") dia. Concentric Duct Transition | EA | 24 | 0% | 24 | 0 | 0 | 0
281 |  |  | (12") dia. to (16") dia. Elbow | EA | 16 | 0% | 16 | 0 | 0 | 0
282 |  |  | (14") dia. to (12") dia. Concentric Duct Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
283 |  |  | (14") dia. to (12") dia. Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
284 |  |  | (16") dia. to (12") dia. Concentric Duct Transition | EA | 3 | 0% | 3 | 0 | 0 | 0
285 |  |  | (16") dia. to (14") dia. Concentric Duct Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
286 |  |  | (8") dia. to (16") dia. Concentric Duct Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
287 |  |  | (8") dia. to (12") dia. Concentric Duct Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
288 |  |  | (8") dia. to (14") dia. Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
289 |  |  | (8") dia. to (22") dia. Radius Duct Work Elbow | EA | 3 | 0% | 3 | 0 | 0 | 0
290 |  |  | (22") dia. to (8") dia. Concentric Duct Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
291 |  |  | (22") dia. to (12") dia. Concentric Duct Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
292 |  |  | (45d) Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
293 |  |  | Connection | EA | 14 | 0% | 14 | 0 | 0 | 0
294 |  |  | Rectangular Exhaust Air Relief Air Duct Work Down | EA | 1 | 0% | 1 | 0 | 0 | 0
295 |  |  | Rectangular Exhaust Air Rise | EA | 1 | 0% | 1 | 0 | 0 | 0
296 |  |  | Rectangular Supply Air Rise | EA | 1 | 0% | 1 | 0 | 0 | 0
297 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck Dia. 15") | EA | 8 | 0% | 8 | 0 | 0 | 0
298 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck Dia. 8") | EA | 5 | 0% | 5 | 0 | 0 | 0
299 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck Dia. 10") | EA | 4 | 0% | 4 | 0 | 0 | 0
300 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck Dia. 12") | EA | 2 | 0% | 2 | 0 | 0 | 0
301 |  |  | (16/16) Return Grille | EA | 10 | 0% | 10 | 0 | 0 | 0
302 |  |  | (14/14) Exhaust Grille | EA | 3 | 0% | 3 | 0 | 0 | 0
303 |  |  | (38/10) Drum Diffuser | EA | 6 | 0% | 6 | 0 | 0 | 0
304 |  |  | Thermostat | EA | 14 | 0% | 14 | 0 | 0 | 0
305 |  |  | Volume Damper / Balance | EA | 9 | 0% | 9 | 0 | 0 | 0
Clere Story
Rectangular Ducts
306 |  |  | (38/45) Rectangular Duct Work | LF | 66 | 0% | 66 | 0 | 0 | 0
Circular Ducts
307 |  |  | (28") dia. Circular Duct Work | LF | 382 | 0% | 382 | 0 | 0 | 0
308 |  |  | (36") dia. Circular Duct Work | LF | 141 | 0% | 141 | 0 | 0 | 0
Fittings
309 |  |  | (38/45) Concentric Duct Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
310 |  |  | (36") dia. Concentric Duct Transition | EA | 4 | 0% | 4 | 0 | 0 | 0
311 |  |  | (36") dia. to (28") dia. Concentric Duct Transition | EA | 9 | 0% | 9 | 0 | 0 | 0
312 |  |  | (45d) Radius Duct Work Elbow | EA | 4 | 0% | 4 | 0 | 0 | 0
313 |  |  | Connection | EA | 4 | 0% | 4 | 0 | 0 | 0
314 |  |  | (38/45) Return Grille | EA | 4 | 0% | 4 | 0 | 0 | 0
315 |  |  | (37/10) Drum Diffuser | EA | 3 | 0% | 3 | 0 | 0 | 0
316 |  |  | (38/10) Drum Diffuser | EA | 29 | 0% | 29 | 0 | 0 | 0
| 3-H101 3-H102 |  | Annex
First Floor
Rectangular Ducts
317 |  |  | (10/6) Rectangular Duct Work | LF | 31 | 0% | 31 | 0 | 0 | 0
318 |  |  | (12/10) Rectangular Duct Work | LF | 3 | 0% | 3 | 0 | 0 | 0
319 |  |  | (12/12) Rectangular Duct Work | LF | 41 | 0% | 41 | 0 | 0 | 0
320 |  |  | (12/16) Rectangular Duct Work | LF | 19 | 0% | 19 | 0 | 0 | 0
321 |  |  | (12/6) Rectangular Duct Work | LF | 98 | 0% | 98 | 0 | 0 | 0
322 |  |  | (12/8) Rectangular Duct Work | LF | 163 | 0% | 163 | 0 | 0 | 0
323 |  |  | (14/10) Rectangular Duct Work | LF | 17 | 0% | 17 | 0 | 0 | 0
324 |  |  | (14/12) Rectangular Duct Work | LF | 114 | 0% | 114 | 0 | 0 | 0
325 |  |  | (14/13) Rectangular Duct Work | LF | 33 | 0% | 33 | 0 | 0 | 0
326 |  |  | (14/15) Rectangular Duct Work | LF | 6 | 0% | 6 | 0 | 0 | 0
327 |  |  | (14/6) Rectangular Duct Work | LF | 55 | 0% | 55 | 0 | 0 | 0
328 |  |  | (14/8) Rectangular Duct Work | LF | 160 | 0% | 160 | 0 | 0 | 0
329 |  |  | (16/14) Rectangular Duct Work | LF | 29 | 0% | 29 | 0 | 0 | 0
330 |  |  | (16/15) Rectangular Duct Work | LF | 16 | 0% | 16 | 0 | 0 | 0
331 |  |  | (16/16) Rectangular Duct Work | LF | 3 | 0% | 3 | 0 | 0 | 0
332 |  |  | (18/12) Rectangular Duct Work | LF | 6 | 0% | 6 | 0 | 0 | 0
333 |  |  | (18/14) Rectangular Duct Work | LF | 42 | 0% | 42 | 0 | 0 | 0
334 |  |  | (18/16) Rectangular Duct Work | LF | 23 | 0% | 23 | 0 | 0 | 0
335 |  |  | (20/12) Rectangular Duct Work | LF | 35 | 0% | 35 | 0 | 0 | 0
336 |  |  | (20/14) Rectangular Duct Work | LF | 28 | 0% | 28 | 0 | 0 | 0
337 |  |  | (22/14) Rectangular Duct Work | LF | 15 | 0% | 15 | 0 | 0 | 0
338 |  |  | (22/18) Rectangular Duct Work | LF | 32 | 0% | 32 | 0 | 0 | 0
339 |  |  | (30/24) Rectangular Duct Work | LF | 816 | 0% | 816 | 0 | 0 | 0
340 |  |  | (38/28) Rectangular Duct Work | LF | 44 | 0% | 44 | 0 | 0 | 0
341 |  |  | (6/6) Rectangular Duct Work | LF | 52 | 0% | 52 | 0 | 0 | 0
342 |  |  | (74/18) Rectangular Duct Work | LF | 18 | 0% | 18 | 0 | 0 | 0
343 |  |  | (8/4) Rectangular Duct Work | LF | 24 | 0% | 24 | 0 | 0 | 0
Circular Duct Works
344 |  |  | (10") dia. Duct Work | LF | 30 | 0% | 30 | 0 | 0 | 0
345 |  |  | (12") dia. Duct Work | LF | 51 | 0% | 51 | 0 | 0 | 0
346 |  |  | (14") dia. Duct Work | LF | 38 | 0% | 38 | 0 | 0 | 0
347 |  |  | (16") dia. Duct Work | LF | 16 | 0% | 16 | 0 | 0 | 0
348 |  |  | (8") dia. Duct Work | LF | 3 | 0% | 3 | 0 | 0 | 0
Fittings
349 |  |  | (10/6) Radius Ductwork Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0
350 |  |  | (12/12) to (10") dia. Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
351 |  |  | (12/12) to (12/8) WYE Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
352 |  |  | (12/12) to (12/8) WYE Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
353 |  |  | (12/12) to (18/14) Concentric Duct Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
354 |  |  | (12/12) to (18/14) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
355 |  |  | (12/16) to (10") dia. Concentric Ductwork Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
356 |  |  | (12/6) Radius Duct Work Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0
357 |  |  | (12/6) to (14/8) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
358 |  |  | (12/6) to (14/8) WYE Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
359 |  |  | (12/8) Radius Duct Work Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0
360 |  |  | (12/8) to (14/12) Concentric Duct Work Transition | EA | 9 | 0% | 9 | 0 | 0 | 0
361 |  |  | (12/8) to (14/12) WYE Radius Duct Work Elbow | EA | 3 | 0% | 3 | 0 | 0 | 0
362 |  |  | (12/8) to (20/12) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
363 |  |  | (14/10) to (10") dia. Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
364 |  |  | (14/10) to (10") dia. Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
365 |  |  | (14/10) to (12/6) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
366 |  |  | (14/10) to (12/6) WYE Radius Duct Work Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0
367 |  |  | (14/12) Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
368 |  |  | (14/12) to (12") dia. Concentric Duct Work Transition | EA | 4 | 0% | 4 | 0 | 0 | 0
369 |  |  | (14/12) to (12") dia. Radius Duct Work Elbow | EA | 4 | 0% | 4 | 0 | 0 | 0
370 |  |  | (14/12) to (12/12) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
371 |  |  | (14/12) to (12/8) Concentric Duct Work Transition | EA | 4 | 0% | 4 | 0 | 0 | 0
372 |  |  | (14/12) to (12/8) WYE Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
373 |  |  | (14/12) to (14/6) WYE Radius Duct Work Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0
374 |  |  | (14/12) to (14/8) WYE Radius Duct Work Elbow | EA | 3 | 0% | 3 | 0 | 0 | 0
375 |  |  | (14/12) to (16/14) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
376 |  |  | (14/12) to (22/14) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
377 |  |  | (14/12) to (8/4) Concentric Duct Work transition | EA | 1 | 0% | 1 | 0 | 0 | 0
378 |  |  | (14/13) Radius Ductwork Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
379 |  |  | (14/8) to (12") dia. Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
380 |  |  | (14/8) to (12/16) Concentric Duct Work Transition | EA | 3 | 0% | 3 | 0 | 0 | 0
381 |  |  | (14/8) to (12/16) Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
382 |  |  | (14/8) to (12/16) WYE Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
383 |  |  | (16/14) Radius Duct Work Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0
384 |  |  | (16/14) to (14") dia. Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
385 |  |  | (16/15) Radius Duct Work Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0
386 |  |  | (16/15) to (12/8) WYE Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
387 |  |  | (16/15) to (14/15) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
388 |  |  | (18/14) Radius Duct Work Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0
389 |  |  | (18/14) to (14") dia. Concentric Duct Work Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
390 |  |  | (18/14) to (14") dia. Radius DuctWork Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
391 |  |  | (18/14) to (14/8) Concentric Duct Work Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
392 |  |  | (18/16) to (14/8) Concentric Duct Work Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
393 |  |  | (18/16) to (14/8) WYE Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
394 |  |  | (18/16) to (16") dia. Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
395 |  |  | (18/16) WYE Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
396 |  |  | (20/12) Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
397 |  |  | (20/12) to (18/12) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
398 |  |  | (20/14) to (12/8) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
399 |  |  | (20/14) to (18/14) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
400 |  |  | (30/24) Radius Duct Work Elbow | EA | 16 | 0% | 16 | 0 | 0 | 0
401 |  |  | (30/24) to (38/28) WYE Radius Ductwork Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0
402 |  |  | 45d Beveled Fitting for Rectangular to Rectangular Duct Work | EA | 1 | 0% | 1 | 0 | 0 | 0
403 |  |  | (6/6) Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
404 |  |  | (10") dia. Radius DuctWork Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
405 |  |  | (10") dia. to (12/10) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
406 |  |  | (10") dia. to (14/10) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
407 |  |  | (10") dia. to (8") dia. Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
408 |  |  | (12") dia. Concentric Duct Transition | EA | 3 | 0% | 3 | 0 | 0 | 0
409 |  |  | (12") dia. Eccentric Duct Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
410 |  |  | (12") dia. Radius Duct Work Elbow | EA | 1 | 0% | 1 | 0 | 0 | 0
411 |  |  | (12") dia. to (14/12) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
412 |  |  | (12") dia. to (14/13) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
413 |  |  | (12") dia. to (14/15) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
414 |  |  | (14") dia. Concentric Duct Work Transition | EA | 3 | 0% | 3 | 0 | 0 | 0
415 |  |  | (14") dia. to (16/16) Concentric Duct Work Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
416 |  |  | (16") dia. to (18/14) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
417 |  |  | (16") dia. to (18/12) Concentric Duct Work Transition | EA | 1 | 0% | 1 | 0 | 0 | 0
418 |  |  | (16") dia. to (22/18) Concentric Duct Work Transition | EA | 2 | 0% | 2 | 0 | 0 | 0
419 |  |  | Spin In Fitting | EA | 22 | 0% | 22 | 0 | 0 | 0
420 |  |  | Thermostat | EA | 17 | 0% | 17 | 0 | 0 | 0
421 |  |  | Volume Damper / Balance | EA | 65 | 0% | 65 | 0 | 0 | 0
422 |  |  | Conical Fitting for Round to Rectangular Duct Work | EA | 17 | 0% | 17 | 0 | 0 | 0
423 |  |  | Connection | EA | 90 | 0% | 90 | 0 | 0 | 0
424 |  |  | (10/12) Exhaust Grille | EA | 2 | 0% | 2 | 0 | 0 | 0
425 |  |  | ((16/16)) (1/2" x 1/2") Mesh Grille W/ Frame | EA | 1 | 0% | 1 | 0 | 0 | 0
426 |  |  | (18/10) Exhaust Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
427 |  |  | ((18/18)) Transfer Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
428 |  |  | ((18/8)) Transfer Grille | EA | 7 | 0% | 7 | 0 | 0 | 0
429 |  |  | ((24/24)) Egg Crate Grill | EA | 2 | 0% | 2 | 0 | 0 | 0
430 |  |  | (30/16) Transfer Grille | EA | 4 | 0% | 4 | 0 | 0 | 0
431 |  |  | (36/18) Transfer Grille | EA | 1 | 0% | 1 | 0 | 0 | 0
432 |  |  | (42/24) Return Grille | EA | 3 | 0% | 3 | 0 | 0 | 0
433 |  |  | ((6/6)) Exhaust Grille | EA | 2 | 0% | 2 | 0 | 0 | 0
434 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck Dia. 10") | EA | 4 | 0% | 4 | 0 | 0 | 0
435 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck Dia. 4") | EA | 1 | 0% | 1 | 0 | 0 | 0
436 |  |  | (24" x 24") Architectural Ceiling Diffuser (Neck Dia. 8") | EA | 2 | 0% | 2 | 0 | 0 | 0
437 |  |  | Circular Plaque Ceiling Diffuser (Neck Dia. = 10") | EA | 47 | 0% | 47 | 0 | 0 | 0
438 |  |  | Circular Plaque Ceiling Diffuser (Neck Dia. = 8") | EA | 1 | 0% | 1 | 0 | 0 | 0
439 |  |  | Circular Plaque Ceiling Diffuser (Neck Dia. = 12") | EA | 14 | 0% | 14 | 0 | 0 | 0
440 |  |  | 4" Vent | EA | 1 | 0% | 1 | 0 | 0 | 0
441 |  |  | 4" Combustion Air | EA | 1 | 0% | 1 | 0 | 0 | 0
Equipments & Units
| 2-H100 2-H101 2-H102 2-H103 |  | Office Building
442 |  |  | RTU O-1 Packaged Rooftop Units Manuf. : TRANE Model # : YCD600 | EA | 1 | 0% | 1 | 0 | 0 | 0
443 |  |  | RTU O-2 Packaged Rooftop Units Manuf. : TRANE Model # : YCD600 | EA | 1 | 0% | 1 | 0 | 0 | 0
444 |  |  | RTU O-3 Packaged Rooftop Units Manuf. : TRANE Model # : YCD600 | EA | 1 | 0% | 1 | 0 | 0 | 0
445 |  |  | RTU O-4 Packaged Rooftop Units Manuf. : TRANE Model # : YCD600 | EA | 1 | 0% | 1 | 0 | 0 | 0
446 |  |  | RTU O-5 Packaged Rooftop Units Manuf. : TRANE Model # : YCD600 | EA | 1 | 0% | 1 | 0 | 0 | 0
447 |  |  | SS-O1 Ductless Split System Manuf. TRANE Model # : 4TYK6512A10NBA | EA | 1 | 0% | 1 | 0 | 0 | 0
448 |  |  | SS-O2 Ductless Split System Manuf. TRANE Model # : 4TYK6536A10NBA | EA | 1 | 0% | 1 | 0 | 0 | 0
449 |  |  | SS-O3 Ductless Split System Manuf. TRANE Model # : 4TYK6512A10NBA | EA | 1 | 0% | 1 | 0 | 0 | 0
450 |  |  | AWH (15" x 20") Architectural Wall Heater Manuf. : QMARK Model # : AWH 4404 | EA | 10 | 0% | 10 | 0 | 0 | 0
451 |  |  | EF-O1 Exhaust Fan Manuf. : GREENHECK Model # : G-143-VG | EA | 1 | 0% | 1 | 0 | 0 | 0
452 |  |  | EF-O2 Exhaust Fan Manuf. : GREENHECK Model # : SQ-98-VG | EA | 1 | 0% | 1 | 0 | 0 | 0
453 |  |  | EF-O3 Exhaust Fan Manuf. : GREENHECK Model # : SQ-98-VG | EA | 1 | 0% | 1 | 0 | 0 | 0
454 |  |  | EF-O4 Ceiling Fan Manuf. : GREENHECK Model # : SP-B110 | EA | 1 | 0% | 1 | 0 | 0 | 0
455 |  |  | EF-O5 Ceiling Fan Manuf. : GREENHECK Model # : SP-B110 | EA | 1 | 0% | 1 | 0 | 0 | 0
456 |  |  | VAV-O1 (Inlet Size 6") SDV5 VAV Terminal Unit | EA | 5 | 0% | 5 | 0 | 0 | 0
457 |  |  | VAV-O1 (Inlet Size 8") SDV5 VAV Terminal Unit | EA | 4 | 0% | 4 | 0 | 0 | 0
458 |  |  | VAV-O1 (Inlet Size 10") SDV5 VAV Terminal Unit | EA | 10 | 0% | 10 | 0 | 0 | 0
459 |  |  | VAV-O1 (Inlet Size 12") SDV5 VAV Terminal Unit | EA | 2 | 0% | 2 | 0 | 0 | 0
460 |  |  | VAV-O2 (Inlet Size 6") SDV5 VAV Terminal Unit | EA | 2 | 0% | 2 | 0 | 0 | 0
461 |  |  | VAV-O2 (Inlet Size 8") SDV5 VAV Terminal Unit | EA | 7 | 0% | 7 | 0 | 0 | 0
462 |  |  | VAV-O2 (Inlet Size 10") SDV5 VAV Terminal Unit | EA | 4 | 0% | 4 | 0 | 0 | 0
463 |  |  | VAV-O2 (Inlet Size 12") SDV5 VAV Terminal Unit | EA | 4 | 0% | 4 | 0 | 0 | 0
464 |  |  | VAV-O3 (Inlet Size 4") SDV5 VAV Terminal Unit | EA | 3 | 0% | 3 | 0 | 0 | 0
465 |  |  | VAV-O3 (Inlet Size 6") SDV5 VAV Terminal Unit | EA | 1 | 0% | 1 | 0 | 0 | 0
466 |  |  | VAV-O3 (Inlet Size 8") SDV5 VAV Terminal Unit | EA | 9 | 0% | 9 | 0 | 0 | 0
467 |  |  | VAV-O3 (Inlet Size 10") SDV5 VAV Terminal Unit | EA | 7 | 0% | 7 | 0 | 0 | 0
468 |  |  | VAV-O4 (Inlet Size 4") SDV5 VAV Terminal Unit | EA | 1 | 0% | 1 | 0 | 0 | 0
469 |  |  | VAV-O4 (Inlet Size 6") SDV5 VAV Terminal Unit | EA | 2 | 0% | 2 | 0 | 0 | 0
470 |  |  | VAV-O4 (Inlet Size 8") SDV5 VAV Terminal Unit | EA | 8 | 0% | 8 | 0 | 0 | 0
471 |  |  | VAV-O4 (Inlet Size 10") SDV5 VAV Terminal Unit | EA | 3 | 0% | 3 | 0 | 0 | 0
472 |  |  | VAV-O4 (Inlet Size 12") SDV5 VAV Terminal Unit | EA | 4 | 0% | 4 | 0 | 0 | 0
473 |  |  | VAV-O5 (Inlet Size 6") SDV5 VAV Terminal Unit | EA | 6 | 0% | 6 | 0 | 0 | 0
474 |  |  | VAV-O5 (Inlet Size 8") SDV5 VAV Terminal Unit | EA | 14 | 0% | 14 | 0 | 0 | 0
475 |  |  | VAV-O5 (Inlet Size 10") SDV5 VAV Terminal Unit | EA | 2 | 0% | 2 | 0 | 0 | 0
476 |  |  | VAV-O5 (Inlet Size 12") SDV5 VAV Terminal Unit | EA | 3 | 0% | 3 | 0 | 0 | 0
477 |  |  | AC-02 (Detail Not Given) | EA | 1 | 0% | 1 | 0 | 0 | 0
478 |  |  | AC-03 (Detail Not Given) | EA | 1 | 0% | 1 | 0 | 0 | 0
479 |  |  | AC-04 (Detail Not Given) | EA | 1 | 0% | 1 | 0 | 0 | 0
480 |  |  | ACCU-AC-02 (Detail Not Given) | EA | 1 | 0% | 1 | 0 | 0 | 0
481 |  |  | ACCU-AC-03 (Detail Not Given) | EA | 1 | 0% | 1 | 0 | 0 | 0
482 |  |  | ACCU-AC-04 (Detail Not Given) | EA | 1 | 0% | 1 | 0 | 0 | 0
| 3-H101 3-H102 |  | Annex
483 |  |  | RTU A-1 Packaged Rooftop Unit Manuf. : TRANE Model # : YHD240 | EA | 1 | 0% | 1 | 0 | 0 | 0
484 |  |  | RTU A-2 Packaged Rooftop Unit Manuf. : TRANE Model # : YHD240 | EA | 1 | 0% | 1 | 0 | 0 | 0
485 |  |  | RTU A-3 Packaged Rooftop Unit Manuf. : TRANE Model # : YHD240 | EA | 1 | 0% | 1 | 0 | 0 | 0
486 |  |  | RTU A-4 Packaged Rooftop Unit Manuf. : TRANE Model # : YHD240 | EA | 1 | 0% | 1 | 0 | 0 | 0
487 |  |  | SS-A1 Ductless Split System Manuf. TRANE Model # : 4TYK6512A10NBA | EA | 1 | 0% | 1 | 0 | 0 | 0
488 |  |  | AWH (15" x 20") Architectural Wall Heater Manuf. : QMARK Model # : AWH 4404 | EA | 5 | 0% | 5 | 0 | 0 | 0
489 |  |  | EF-A1 Exhaust Fan A1 Manuf: GreenHeck Model #: G-123-VG | EA | 1 | 0% | 1 | 0 | 0 | 0
490 |  |  | VAV-A1 (Inlet Size 10") SDV5 VAV Terminal Unit | EA | 4 | 0% | 4 | 0 | 0 | 0
491 |  |  | VAV-A1 (Inlet Size 16") SDV5 VAV Terminal Unit | EA | 1 | 0% | 1 | 0 | 0 | 0
492 |  |  | VAV-A2 (Inlet Size 7") SDV5 VAV Terminal Unit | EA | 1 | 0% | 1 | 0 | 0 | 0
493 |  |  | VAV-A2 (Inlet Size 9") SDV5 VAV Terminal Unit | EA | 1 | 0% | 1 | 0 | 0 | 0
494 |  |  | VAV-A2 (Inlet Size 10") SDV5 VAV Terminal Unit | EA | 1 | 0% | 1 | 0 | 0 | 0
495 |  |  | VAV-A2 (Inlet Size 12") SDV5 VAV Terminal Unit | EA | 2 | 0% | 2 | 0 | 0 | 0
496 |  |  | VAV-A2 (Inlet Size 14") SDV5 VAV Terminal Unit | EA | 1 | 0% | 1 | 0 | 0 | 0
497 |  |  | VAV-A3 (Inlet Size 8") SDV5 VAV Terminal Unit | EA | 1 | 0% | 1 | 0 | 0 | 0
498 |  |  | VAV-A3 (Inlet Size 9") SDV5 VAV Terminal Unit | EA | 2 | 0% | 2 | 0 | 0 | 0
499 |  |  | VAV-A3 (Inlet Size 12") SDV5 VAV Terminal Unit | EA | 3 | 0% | 3 | 0 | 0 | 0
500 |  |  | VAV-A4 (Inlet Size 12") SDV5 VAV Terminal Unit | EA | 2 | 0% | 2 | 0 | 0 | 0
501 |  |  | VAV-A4 (Inlet Size 14") SDV5 VAV Terminal Unit | EA | 2 | 0% | 2 | 0 | 0 | 0
502 |  |  | AC-05 (Detail Not Given) | EA | 1 | 0% | 1 | 0 | 0 | 0
503 |  |  | ACCU-AC-05 (Detail Not Given) | EA | 1 | 0% | 1 | 0 | 0 | 0
| 1-H101 1-H102 |  | Garage
504 |  |  | RTU G-1 Packaged Rooftop Unit Manuf. : TRANE Model # : YCH 360 | EA | 1 | 0% | 1 | 0 | 0 | 0
505 |  |  | RTU G-2 Packaged Rooftop Unit Manuf. : TRANE Model # : YCH 360 | EA | 1 | 0% | 1 | 0 | 0 | 0
506 |  |  | RTU G-3 Packaged Rooftop Unit Manuf. : TRANE Model # : YCH 360 | EA | 1 | 0% | 1 | 0 | 0 | 0
507 |  |  | RTU G-4 Packaged Rooftop Unit Manuf. : TRANE Model # : YCH 360 | EA | 1 | 0% | 1 | 0 | 0 | 0
508 |  |  | RTU G-5 Packaged Rooftop Unit Manuf. : TRANE Model # : YCH 360 | EA | 1 | 0% | 1 | 0 | 0 | 0
509 |  |  | AWH (15" x 20") Architectural Wall Heater Manuf. : QMARK Model # : AWH 4404 | EA | 5 | 0% | 5 | 0 | 0 | 0
510 |  |  | SS-G1 TRANE Ductless Split System | EA | 1 | 0% | 1 | 0 | 0 | 0
511 |  |  | CPF-G1 Ceiling Propeller Fan G-1 Manuf: Big Ass Fan Model #: 12'-0" Basic 6 | EA | 1 | 0% | 1 | 0 | 0 | 0
512 |  |  | EPUH G-1 Electric Propeller Unit Heater- G1 Manuf: Trane Model #: UHEC-05 | EA | 1 | 0% | 1 | 0 | 0 | 0
513 |  |  | EPUH G-2 Electric Propeller Unit Heater- G2 Manuf: Trane Model #: UHEC-05 | EA | 1 | 0% | 1 | 0 | 0 | 0
514 |  |  | FF G-1 Fly Fan Manuf: BERNER Model #: SLC07-1-036A | EA | 1 | 0% | 1 | 0 | 0 | 0
515 |  |  | FF G-2 Fly Fan Manuf: BERNER Model #: SLC07-1-036A | EA | 1 | 0% | 1 | 0 | 0 | 0
516 |  |  | FF G-3 Fly Fan Manuf: BERNER Model #: SLC01-1-072A | EA | 1 | 0% | 1 | 0 | 0 | 0
517 |  |  | FF G-4 Fly Fan Manuf: BERNER Model #: SLC01-1-072A | EA | 1 | 0% | 1 | 0 | 0 | 0
518 |  |  | FF G-5 Fly Fan Manuf: BERNER Model #: IDC14-3-144A | EA | 1 | 0% | 1 | 0 | 0 | 0
519 |  |  | FF G-6 Fly Fan Manuf: BERNER Model #: IDC14-3-144A | EA | 1 | 0% | 1 | 0 | 0 | 0
520 |  |  | FF G-7 Fly Fan Manuf: BERNER Model #: IDC14-3-144A | EA | 1 | 0% | 1 | 0 | 0 | 0
521 |  |  | FF G-8 Fly Fan Manuf: BERNER Model #: IDC14-2-120A | EA | 1 | 0% | 1 | 0 | 0 | 0
522 |  |  | FF G-9 Fly Fan Manuf: BERNER Model #: SLC01-1-072A | EA | 1 | 0% | 1 | 0 | 0 | 0
523 |  |  | EF-G1 Exhaust Fan G-1 Manuf: GreenHeck Model #: G-143-VG | EA | 1 | 0% | 1 | 0 | 0 | 0
524 |  |  | KEF-G1 Kitchen Exhaust Fan G-1 Manuf: GreenHeck Model #: USGF-240-5 | EA | 1 | 0% | 1 | 0 | 0 | 0
525 |  |  | KEF-G2 Thru KEF-G8 Kitchen Exhaust Fan G-2 Thru G-8 Manuf: GreenHeck Model #: USGF-240-5 | EA | 7 | 0% | 7 | 0 | 0 | 0
526 |  |  | MAU-G1 Direct Fired MakeUp Air Manuf: GreenHeck Model #: DGX-P120-H22 | EA | 1 | 0% | 1 | 0 | 0 | 0
527 |  |  | MAU-G2 Thru G-8 Direct Fired MakeUp Air Manuf: GreenHeck Model #: DGX-P120-H22 | EA | 7 | 0% | 7 | 0 | 0 | 0
528 |  |  | VAV-G5 (Inlet Size 12") SDV5 VAV Terminal Unit | EA | 11 | 0% | 11 | 0 | 0 | 0
529 |  |  | AC-01 (Detail Not Given) | EA | 1 | 0% | 1 | 0 | 0 | 0
530 |  |  | ACCU-AC-01 (Detail Not Given) | EA | 1 | 0% | 1 | 0 | 0 | 0
[8 empty] | SUBTOTAL | 0 | 0
PROJECTED COST | [8 empty] | 0 | 0
OVERHEAD AND PROFIT | [7 empty] | 20% | 0 | 0
INSURANCE | [7 empty] | 3% | 0 | 0
CONTINGENCY | [7 empty] | 7% | 0 | 0
SUGGESTED BID | [8 empty] | 0 | 0
Notes: